SECTION 220100 - GENERAL REQUIREMENTS FOR PLUMBING SYSTEMS

PART 1 GENERAL

- SUMMARY

- General

- Read this Section in conjunction with other related Sections, the General Requirements, the Design Drawings and the Contract Conditions.

- Included Systems/ Products

- General requirements for plumbing systems.

  - SUBMITTALS

- General: Comply with the requirements of the General Requirements and submit the following.

- Post Contract Submittals

- Shop Drawings.

- Product Data on materials and components for use.

- Supplementary Product Literature: Include a statement from the manufacturer for the design life of the system.

- List of tests included.

- Certified test data.

- Outline technical specifications reflecting proposed materials and systems.

- A list of proposed suppliers and Subcontractors intended to be used.

- Method Statement.

- Quality Plan.

- Summary of deviations from the Specification.

- Reports of factory witness tests as called for in each section and requested by the Engineer.

- Valve Tag Charts.

- Field Test Reports.

- Authorities Inspection Reports.

- System Verification Certificates.

- Special tools recommended by the product manufacturer and required for maintenance.

- Coordination Construction Drawings: Prepare and submit to the Engineer for acceptance a dimensioned layout with required sections of piping for each floor. These drawings shall be used as coordination drawings and be distributed to all Divisions whose Work is affected. Drawings shall be in a larger scale, usually 1:20 and shall include piping sections in accordance with planned fabrication, all pipe and conduit fittings, valves and cleanouts with all dimensions for erection.

- In addition to the above layouts and sections prepare details indicating sizes and locations of special details including but not limited to:

- Sleeves and openings.

- Inserts and anchors.

- Access panel openings.

- Pits.

- Housekeeping pads, vibration isolators and equipment bases.

  - CLOSEOUT SUBMITTALS

- General: Comply with the requirements of the General Requirements and submit the following:

- Warranties.

- Unless otherwise specified in other Sections, provide a manufacturer's full warranty covering all products of this Division, valid for 2 years from date of issue of Taking-Over Certificate, irrespective of delivery date and trial usage.

- Provide warranty certificates for all equipment supplied to this Project.

- Include copies of warranties in the appropriate sections of the Operation and Maintenance (O&M) Manuals. Original certificates shall be submitted separately to the Employer.

- Guarantee the system for 2 years free maintenance, 5 years for availability of spare parts and technical assistance. All other works for this section shall be in writing for 2 years, unless specifically stated in the Specification. All guarantees shall commence after completion of the testing and commissioning and final acceptance of the complete systems. Promptly repair or replace defective materials or equipment, workmanship and installation that develop within this period to the Engineer satisfaction at no cost to the Employer. Damage caused in making necessary repairs and replacements shall be remedied and corrected at no cost to the Employer.

- Operation and Maintenance (O&M) Manuals: Include component list with manufacturer's reference numbers, descriptions of materials and procedures for repairing and cleaning of finishes and cleaning frequency.

- Recommended Spare Parts list: As referenced in applicable Sections. Spare parts list shall identify by name, the part numbers and quantities recommended and the current prices

  - QUALITY ASSURANCE

- The manufacturer of all materials and equipment must have at least 10 years of experience in the design and manufacture of the respective products unless otherwise stated in other sections of this Specification.

- Permits, Fees and Inspections

- Apply for, obtain, and pay for all permits, licenses, inspections, examinations and fees required for Work of Division 22 Plumbing.

- Arrange for inspection of all Work by all concerned Local Statutory Authorities having jurisdiction.

- On completion of the Work, present to the Engineer the final unconditional certificate of acceptance of all concerned Local Statutory Authorities having jurisdiction.

- The installation of plumbing systems shall in accordance with the construction standards established by Amman – Jordan authorities having jurisdiction. In no instance shall the Contractor reduce the standards or scope of Work established by the Design Drawings and Specification.

- Standards and Codes of Practice

- The plumbing systems shall be designed in accordance with the requirements of the following local governing codes:

- Jordanian Plumbing Code.

- Local Codes and Ordinances in Amman, Jordan

- Refer also to the particular Sections of the Specification for relevant standards and codes.

- Where conflicts exist between the requirements of the Design Drawings, standards, codes and Specification the most stringent shall be applied.

- Provide testing and inspections in accordance with the General Requirements

- Preconstruction Testing/ Reports: As referenced in applicable Sections.

PART 2 PRODUCTS

- SYSTEMS/ PRODUCTS

- General

- This Section establishes the minimum requirements for completing all plumbing services in accordance with the Contract Documents. Reference shall also be made to the particular Sections for each equipment type for specific requirements.

- Provide all necessary materials, labor, equipment, tools, appliances, services, hoisting, scaffolding, supports and supervision to provide complete and safe installations in accordance with the Contract Documents.

- Plumbing systems shall generally include, but shall not be limited to the following:

- Hot and cold-water systems.

- Booster, transfer and circulation pumps.

- Water storage tanks.

- Water heaters and calorifiers.

- Water filtration systems.

- Sanitary, sewer and condensate drainage systems.

- DESIGN CRITERIA

- General

- Refer to the design requirements of the particular Plumbing Sections of the Specification.

- Clearance from Electrical Equipment

- Piping shall not pass through the following locations:

- M.V. Switchgear rooms.

- Transformer rooms.

- L.V. Switchgear rooms.

- Electric rooms and closets.

- Telephone rooms and closets.

- Over electrical panels and bus way.

- All Work within these areas shall be closely coordinated with Division 26 Electrical Sections.

- Equipment Nameplates

- Provide apparatus (including electric motors) with proper nameplates affixed thereto, showing the size, name of equipment, serial number and all information usually provided, which also includes voltage, cycle, phase and horsepower of motors and the name and address of the manufacturer.

- Nameplates shall be	in both English and Arabic languages.

- Expediting of Equipment

- Continuously check and expedite delivery of equipment and materials. If necessary, inspect at the source of manufacture.

- Continuously check and expedite the flow of necessary information to and from all parties involved.

- Provide equipment delivery records updated monthly or more frequently as required by the Engineer.

- MATERIALS

- Standard of Materials and Equipment

- Materials and components shall be new and of the specified quality, delivered, installed, connected and finished in every detail and supplied with the acceptance of the Engineer.

- Where a manufacturer's name and model number are mentioned, it is for the purpose of setting a standard of quality, performance, capacity, appearance and serviceability.

- SOURCE QUALITY CONTROL

A. Inspection and Testing during Manufacture

- In accordance with the Contract Documents, notify the Employer and the Engineer of the time and location of his manufacturing shop tests for the following listed equipment:

- Domestic booster water pumps, water heaters and calorifiers.

- Such inspection, examination or testing, if made, shall not release the Contractor from any obligation under the Contract.

- Where the Contract calls for optional witness tests on the premises of the manufacturer, the manufacturer shall provide labor, materials, electricity, water, fuel, stores, apparatus and instruments as may be required and as may be reasonably demanded to carry out such tests.

- Results, recommendations and reports of all such inspections shall be documented as witnessed in writing with originals issued to the Employer.

- Pay for all costs incurred by the Engineer in traveling and expenses to witness the tests on equipment defined in this Section or as referenced in applicable Sections.

- Shop witness tests shall be optional and the Contractor's costs shall be listed individually permitting deduction should witness test be waived by the Engineer.

- RE-COMMISSIONING

- Re-commissioning is carried out to ensure that the building continues to perform as Intended. This involves seasonal re-testing, issues identification and resolution.
Re-commissioning requirements include:

- Final building tuning one year after building completion

- Re-Commissioning two years after building completion

- The contractor must produce a building log book using the CIBSE TM31 building log
book tool kit

- The contractor must produce detail O+M manuals in accordance with ASHRAE 62.2

- Final building tuning process:

- Perform Deferred and Seasonal Testing before end of warranty period to:

- Verify system performance with the building under load (occupied)

- Re-Inspect equipment before end of warranty period. Identify items that need to be replaced or to be rectified. Discrepancy found between predicted and actual
performance and any complaints received regarding comfort, ambience, etc. may
indicate need for minor re-adjustments.

- Facilities management team to conduct occupant/owner satisfaction review survey.

- Produce Report to summarize findings and provide recommendations.

- Re-Commissioning Process:

- Review and enhance the documentation of the operational and maintenance (O&M)
requirements for the equipment and systems

- Document baseline operating conditions through trending of performance
measurements

- Analysis and comparison of the actual energy consumption, (to be read from the
central monitoring system) against the projected energy consumption.

- Optimize control systems through calibration of critical sensors, review metered data
and trend logs, and functional equipment testing

- Produce a Re-Commissioning Report to summarize findings and provide
recommendations

PART 3 EXECUTION

- EXAMINATION

A. Verification of Conditions

1. Examine areas for compliance with requirements for installation and conditions affecting performance of the Work. Identify conditions detrimental to a proper and timely completion. Proceed with installation only after unsatisfactory conditions have been corrected.

- DELIVERY, STORAGE AND HANDLING

- Delivery

1. Deliver materials to Site in original packaging with seals unbroken, labeled with the manufacturer's name, product brand name and type, date of manufacture and directions for storing.

- Storage

1. Store materials in the manufacturer's original packaging labeled in a clean, dry, protected area and within the temperature range required by the manufacturer.

- Handling

1. Handle in accordance with the manufacturer's recommendations. Replace materials that are damaged or unfit for use. Do not open packaging or remove labels prior to installation.

- INSTALLATION

A.	General

1. Refer to the installation requirements of the particular Plumbing Sections of the Specification.

- SITE QUALITY CONTROL

- General

- Furnish all necessary supplies, equipment and labor for cleaning, testing, adjusting and starting-up of equipment, provisional and removal of all temporary piping connections required for tests and dispose of test water and waste after tests.

- Make tests of piping necessary during the progress of the Work. No Work and equipment shall be insulated or concealed until it is successfully tested.

- Each piece of apparatus shall be carefully checked for completeness of connections, accessories, wiring and controls and be placed in operation, tested and adjusted.

- Carry out final tests at a time suitable to and in the presence of the Employer and the Engineer.

- Provide all necessary labor, material and equipment necessary to assist in the performance of tests to be conducted by the relevant Statutory Inspection Authorities.

- Superintendence Staff

- Maintain at the Site, at all times, qualified personnel and supporting staff with proven experience in erecting, supervising, testing and adjusting mechanical projects of comparable nature and complexity.

- The Contractor's Site supervisory personnel and their qualifications are subject to the acceptance of the Engineer.

- Trial Usage

- The Employer has the privilege of trial usage of Mechanical Systems or parts thereof for the purpose of testing and learning operational procedures.

- Carry out trial usage over a maximum period of time as instructed by the Engineer.

- Carry out the operations only with the express knowledge and under supervision of the trade specialist who shall not waive any responsibility because of trial usage.

- Trial usage shall not be construed as Taking-Over of the Work.

- System Acceptance

1. Submit original copies of letters from the manufacturers of all systems indicating that their technical representatives have inspected and tested the respective systems and are satisfied with the method of installation, connection and operation.

- Commissioning

- General

- The final start-up operation of all systems shall be coordinated with other trades participating in the construction.

- All systems shall be released to the Engineer certified ready for use and working in a satisfactory manner to meet the performance requirements of the Specification.

- All floor traps and traps of plumbing fixtures must be filled with water to prevent the escape of sewer gases.

- All sumps with pumps shall be filled with water to the minimum level.

- All control systems shall be operational in accordance with the Specification.

- Water Supply System

- The water system shall be cleaned, disinfected and left operational with lines well vented to prevent the entrapment of air.

- All safety valves shall be manually operated to ensure reliability.

- All gate valves in the system shall be opened completely. Valves in bypass lines shall be completely closed.

- CLEANING

A. Clean exposed surfaces mechanical equipment, piping and polish plated work.

- DEMONSTRATION AND TRAINING

- Demonstration

- Demonstrate to the Engineer, the features and functions of the system and subsystems including the labeling process.

- Furnish the necessary trained personnel to perform the demonstration and instructions and arrange to have the manufacturer's representatives present to assist with the demonstrations.

- Training

- Train the Employer and designated representatives in the proper operation and maintenance of the system.

- Conduct a training course for members of the operating and maintenance staff as designated by the Engineer.

- The training course shall be given at the installation during normal working hours and shall start after the system is functionally complete but prior to final acceptance tests.

END OF SECTION